## O - Audit (High level)
WATER SERVICES INFRASTRUCTURE: OPERATIONAL ASSESSMENT
Legend:
STATUS QUO: N/R - Not required Z - Zero compliance 1 - Below minimum requirement 2 - Minimum basic requirement 3 - Above minimum requirement | IMPACT: F - Fatal / High M - Medium L - Low No - No impact |  |  | RESOURCES | [11 empty] | INFORMATION | [7 empty] | ACTIVITY CONTROL | [5 empty] | MANAGEMENT
|  |  |  | Staff |  | External resources |  | Materials |  | Tools & Equipment |  | Transport |  | Budget |  | Manuals Available |  | Asset Register |  | As-Built information |  | Contingency & Safety Plan |  | Procedures |  | Record keeping in place |  | Quality control procedures established |  | Risk Management |  | Reporting (data analysis & report generation procedures established)
COMPONENT |  | Responsible Personnel | Staff responsible for Tasks
|  |  |  | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact
EXISTING GROUND WATER INFRASTRUCTURE |  | Chief Laboratory Officer | Lab Technician | 1 | No
Plant & Pumpstation Operator
EXISTING SURFACE WATER INFRASTRUCTURE |  | Chief Laboratory Officer | Lab Technician | Z | No
Plant & Pumpstation Operator
EXISTING WATER TREATMENT WORKS INFRASTRUCTURE |  |  |  | 2 | F
Lab Assistant
EXISTING PUMP STATIONS INFRASTRUCTURE |  |  |  | 1 | M
|  | Chief Plant Operator | Plant & Pumpstation Operator
EXISTING BULK PIPELINE INFRASTRUCTURE |  |  |  | Z | L
EXISTING RESERVOIR & WATER TOWER INFRASTRUCTURE |  | Distribution Manager | Runner | 3 | No
|  | Zone Engineer | Distribution Manager
|  | Zone Engineer | Distribution Manager
EXISTING RETICULATION INFRASTRUCTURE |  |  |  | 2 | M

## M - Audit (High level)
WATER SERVICES INFRASTRUCTURE: MAINTENANCE ASSESSMENT
Legend:
STATUS QUO: N/R - Not required Z - Zero compliance 1 - Below minimum requirement 2 - Minimum basic requirement 3 - Above minimum requirement | IMPACT: F - Fatal / High M - Medium L - Low No - No impact |  |  | RESOURCES | [11 empty] | INFORMATION | [7 empty] | ACTIVITY CONTROL | [5 empty] | MANAGEMENT
|  |  |  | Staff |  | External resources |  | Materials |  | Tools & Equipment |  | Transport |  | Budget |  | Manuals Available |  | Asset Register |  | As-Built information |  | Contingency & Safety Plan |  | Procedures |  | Record keeping in place |  | Quality control procedures established |  | Risk Management |  | Reporting (data analysis & report generation procedures established)
COMPONENT |  | Responsible Personnel | Staff responsible for Tasks
|  |  |  | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact | Status | Impact
EXISTING GROUND WATER INFRASTRUCTURE |  | Chief Laboratory Officer | Lab Technician
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
Plant & Pumpstation Operator
EXISTING SURFACE WATER INFRASTRUCTURE |  | Chief Laboratory Officer | Lab Technician
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
Plant & Pumpstation Operator
EXISTING WATER TREATMENT WORKS INFRASTRUCTURE
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
Lab Assistant
EXISTING PUMP STATIONS INFRASTRUCTURE
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
|  | Chief Plant Operator | Plant & Pumpstation Operator
EXISTING BULK PIPELINE INFRASTRUCTURE
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
EXISTING RESERVOIR & WATER TOWER INFRASTRUCTURE |  | Distribution Manager | Runner
|  | Zone Engineer | Distribution Manager
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M
|  | Zone Engineer | Distribution Manager
EXISTING RETICULATION INFRASTRUCTURE
Condition monitoring |  |  |  | Z | No
Planned Maintenance |  |  |  | 1 | L
Unplanned Maintenance |  |  |  | 2 | M

## Admin
Status Quo: | Impact:
N/R | F
Z | M
1 | L
2 | No
3